## St.36
ITEMS |  | Actuals |  |  |  |  | RE | BE
|  | 2007-08 | 2008-09 | 2009-10 | 2010-11 | 2011-12 | 2012-13 | 2013-14
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9
1 | PHYSICAL PARAMETERS
1.1 | INSTALLED CAPACITY(MW):
A | Hydro | 35.7 | 35.7 | 35.7 | 35.7 | 35.7 | 35.7 | 35.7
B | Thermal - Coal Fired | bar: 2007-08 to 2013-14
C | Gas | bar: 2007-08 to 2013-14
D | Others(Diesel) | 5 | 5 | 5 | 5 | 5 | 5 | 5
| TOTAL (1.1A+1.1B+1.1C+1.1D) | 40.7 | 40.7 | 40.7 | 40.7 | 40.7 | 40.7 | 40.7
1.2 | ENERGY GENERATED (MKWH)
A | Hydro | 46.2 | 48.02 | 38.53 | 41.51 | 21.03 | 3.18 | 32.5
B | Thermal - Coal Fired | bar: 2007-08 to 2013-14
C | Gas | bar: 2007-08 to 2013-14
D | Others(Diesel) | 0.21 | 0.13 | 0.13 | 0.15 | 0.09 | 0.07 | 0.15
| TOTAL (1.2A+1.2B+1.2C+1.2D) | 46.41 | 48.15 | 38.66 | 41.66 | 21.12 | 3.25 | 32.65
1.3 | AUX. CONSUMPTION (MKWH):
A | Hydro | 0.2 | 0.15 | 0.12 | 0.13 | 0.05 | 0.2 | 0.17
B | Thermal - Coal Fired | bar: 2007-08 to 2013-14
C | Gas | bar: 2007-08 to 2013-14
D | Others(Diesel) | 0.04 | 0.01 | 0.03 | 0.02 | 0.01 | 0.02 | 0.01
| TOTAL (1.3A+1.3B+1.3C+1.3D) | 0.24 | 0.16 | 0.15 | 0.15 | 0.06 | 0.22 | 0.18
1.4 | Energy Generated - Net of Aux. Consumption (1.2-1.3) | 46.17 | 47.99 | 38.51 | 41.51 | 21.06 | 3.03 | 32.47
1.5 | Energy Purchased(Mkwh) Other Than Ipps & Captive Power | bar: 2007-08 to 2013-14
1.6 | Energy Purchased(Mkwh) - Ipps | 624.37 | 802.3 | 884.88 | 947.53 | 914.59 | 955.49 | 991.25
1.7 | Energy Purchased(Mkwh) - Captive Power | bar: 2007-08 to 2013-14
1.8 | Energy Available For Sale(Mkwh) (1.4+1.5+1.6+1.7) | 670.54 | 850.29 | 923.39 | 989.04 | 935.65 | 985.25 | 1023.72
1.9 | Energy Sold (Mkwh) (Details In Ann. 1) | 545.25 | 734.14 | 728.55 | 728.43 | 763.87 | 803.36 | 808.53
1.1 | T&D Losses(Mkwh) (1.8-1.9) | 125.29 | 116.15 | 194.84 | 260.61 | 171.78 | 155.16 | 215.19
1.11 | T&D Losses (%) (1.10/1.8*100) | 18.68 | 13.66 | 21.1 | 26.35 | 18.36 | 16.19 | 21.02
1.12 | AT&C Losses (%) | 46.87 | 46.81 | 51.35 | 51.96 | 49.58 | 47.51 | 42.72
2 | TRANSMISSION NETWORK (CKT) (Please see Note 1 below):
| 133 KV Single Circuit in Km. | 60.5 | 60.5 | 60.5 | 60.5 | 60.5 | 84.5 | 84.5
| 66 KV Double circuit in Km. | 25.189 | 25.189 | 25.189 | 25.189 | 25.189 | 30.645 | 30.645
| 66 KV Single circuit in Km. | 196.045 | 196.045 | 196.045 | 196.045 | 196.045 | 196.045 | 196.045
| 11 KV / 3 phase | 2665 | 2869 | 2964 | 3037 | 3110 | 3183 | 3256
| 11 KV / 2 phase | 455 | 302 | 315 | 337 | 297 | 211 | 198
3 | DISTRIBUTION NETWORK (CKT) Please see Note 2 below):
| LT / 3 phase (.043KV) | 2830 | 2906 | 2953 | 2969 | 2985 | 3001 | 3017
| LT / Single phase (0.23KV) | 1822 | 1894 | 1921 | 1979 | 2037 | 2095 | 2153
4 | RURAL DISTRIBUTIONWORK:
| Total Length (Ckt) | 3752 | 3856 | 4233 | 4411 | 4589 | 4767 | 4945
| Total No. of Transformers | 1278 | 1342 | 1457 | 1619 | 1781 | 1943 | 2105
| Total No. of Villages | 443 | 443 | 443 | 443 | 443 | 443 | 443
| Total No. of Villages Electrified As Per Old Policy of GOI | 380 | 393 | 398 | 418 | 418 | 430 | 435
| % of Villages Electrified As Per Old Policy of GOI | 86% | 89% | 90% | 94% | 94% | 97% | 98%
| Total No. of Villages Electrified As Per New Policy of GOI | 380 | 393 | 398 | 418 | 418 | 430 | 440
| % of Villages Electrified As Per New Policy of GOI | 86% | 89% | 90% | 94% | 94% | 97% | 98%
| % of Households Electrified In Rural Areas | 70% | 73% | 77% | 82% | 85% | 90% | 95%
| Total No. of Rural Consumers Excl. Pump Sets | 27211 | 27651 | 27994 | 28166 | 28166 | 29022 | 31050
5 | METERING:
| % of Metering - 11 Kv Feeders | 0% | 0% | 0% | 9% | 15% | 18% | 20%
| % of Consumer Metering | 55% | 51% | 54% | 57% | 74% | 75% | 78%
6 | AVG. COST OF POWER RECD./KWH AS STATE'S SHARE FROM :
| Hydro (in Rs./Kwh) | 2.05 | 2.43 | 2.72 | 3.12 | 3.74 | 3.74 | 3.54
Thermal - Coal Fired
Gas
Others
Notes
1 | The details of the transmission network should be as per the voltages being used in the State
2 | The details of the distribution network should be as per the voltages being used in the State