## st47 Rural
ITEMS |  | Unit | Actuals |  |  |  |  | RE | BE
|  |  | 2007-08 | 2008-09 | 2009-10 | 2010-11 | 2011-12 | 2012-13 | 2013-14
1 | 2 |  | 3 | 4 | 5 | 6 | 7 | 8 | 9
1 | SOURCES OF RAW WATER
A | Surface Water
i) | Rivers | MGD | 2007-08 3: Data regarding availability of total Volume of Water in the rivers etc is not maintained by this Department
ii) | Canals | MGD
iii) | Others | MGD
| Total | MGD
B | Ground Water
i) | Tube Wells | MGD | 2007-08 3: NOT APPLICABLE
ii) | Renny Wells | MGD
iii) | Others | MGD
| Total | MGD
2 | WATER TREATMENT STATUS
i) | Surface Water | MGD | 2007-08 3: NOT APPLICABLE
ii) | Ground Water | MGD
iii) | Others | MGD
| Total | MGD
3 | Total Requirement of potable water | MGD | 2007-08 3: NOT APPLICABLE
4 | Excess/Shortfall | MGD
5 | Existing Infrastructure ( Urban)
i) | Water Treatment Plants | Nos.
ii) | Total Installed Capacity | MGD | 2007-08 3: NOT APPLICABLE
iii) | Major Storage & Booster Pumping Stations | Nos.
iv) | Water Supply Network includes Water Trunk Mains | KMs
6 | Performance Indicators
i) | Total Villages( habitation) | Nos. | 2498 | 2498 | 2498 | 2498 | 2498 | 2498 | 2498
ii) | Villages Covered with Piped Water Supply | Nos. | 1570 | 1608 | 1650 | 1744 | 1756 | 1805 | 1870
iii) | Total Towns/Cities | Nos. | 2007-08 3: NOT APPLICABLE
iv) | Towns/Cities Covered with Piped Water Supply | Nos.
v) | Water Supply - Total
| a. Domestic | MGD | 2007-08 3: NOT APPLICABLE
| b. Commercial/Industrial | MGD
| c. Others | MGD
| d. Free Supply | MGD
| Total | MGD | 0 | 0 | 0 | 0 | 0 | 0 | 0
vi) | Category wise consumers - Total
| a. Domestic | in Lakhs | 24699 | 39700 | 54600 | 75000 | 85000 | 100000 | 115000
| b. Commercial/Industrial | in Lakhs | 2007-08 3: NOT APPLICABLE
| c. Others | in Lakhs
| d. Free Supply | in Lakhs
| Total* | in Lakhs | 24699 | 39700 | 54600 | 75000 | 85000 | 100000 | 115000
vii) | Per Capita Consumption
| a. Domestic | LPCD | 40 | 40 | 40 | 40 | 40 | 40 | 40
| b. Commercial/Industrial | LPCD | 2007-08 3: NOT APPLICABLE
| c. Others | LPCD
| d. Free Supply | LPCD
| Total* | LPCD | 40 | 40 | 40 | 40 | 40 | 40 | 40
viii) | Total Cost of Water Treatment & Supply | Rs. Crores
a. Plan
Salary
| Other than Salary |  | 2007-08 3: NOT APPLICABLE
b. Non-Plan
Salary
Other than Salary
ix) | Total Revenue Realisation
| a. Domestic | Rs. Crores
| b. Commercial/Industrial | Rs. Crores | 2007-08 3: NOT APPLICABLE
| c. Others | Rs. Crores
| Total | Rs. Crores
* Copy of the latest tariff order may be provided
MGD :- Million Gallon per day
LPCD:- Litres per Capita per Day
ACTUALS
ACTUALS

## st 47 Urban
ITEMS |  | Unit | Actuals |  |  |  |  | RE | BE
|  |  | 2007-08 | 2008-09 | 2009-10 | 2010-11 | 2011-12 | 2012-13 | 2013-14
1 | 2 |  | 3 | 4 | 5 | 6 | 7 | 8 | 9
1 | SOURCES OF RAW WATER
A | Surface Water
i) | Rivers | MGD | 2007-08 3: Data regarding availability of total Volume of Water in the rivers etc is not maintained by this Department
ii) | Canals | MGD
iii) | Others | MGD
| Total | MGD
B | Ground Water
i) | Tube Wells | MGD | 2007-08 3: NIL
ii) | Renny Wells | MGD
iii) | Others | MGD
| Total | MGD
2 | WATER TREATMENT STATUS
i) | Surface Water | MGD | 7.96 | 8.12 | 8.28 | 8.44 | 8.92 | 9.39 | 9.87
ii) | Ground Water | MGD | 0 | 0 | 0 | 0 | 0 | 0 | 0
iii) | Others | MGD | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Total | MGD | 7.96 | 8.12 | 8.28 | 8.44 | 8.92 | 9.39 | 9.87
3 | Total Requirement of potable water | MGD | 13.27 | 13.53 | 13.8 | 14.07 | 14.87 | 15.65 | 16.45
4 | Excess/Shortfall | MGD | 5.31 | 5.41 | 5.52 | 5.63 | 5.95 | 6.26 | 6.58
5 | Existing Infrastructure ( Urban)
i) | Water Treatment Plants | Nos. | 7 | 7 | 7 | 7 | 7 | 7 | 12
ii) | Total Installed Capacity | MGD | 7 | 7 | 7 | 7 | 7 | 7 | 12
iii) | Major Storage & Booster Pumping Stations | Nos. | 0 | 0 | 0 | 0 | 1 | 1 | 1
iv) | Water Supply Network includes Water Trunk Mains | KMs | 720 | 730 | 750 | 812 | 812 | 832 | 850
6 | Performance Indicators
i) | Total Villages( habitation) | Nos.
ii) | Villages Covered with Piped Water Supply | Nos.
iii) | Total Towns/Cities | Nos. | 140 | 140 | 140 | 140 | 140 | 140 | 140
iv) | Towns/Cities Covered with Piped Water Supply | Nos. | 75 | 76 | 78 | 79 | 79 | 79 | 80
v) | Water Supply - Total
| a. Domestic | MGD | 10.616 | 10.824 | 11.04 | 11.256 | 11.896 | 12.52 | 13.16
| b. Commercial/Industrial | MGD | 1.327 | 1.353 | 1.38 | 1.407 | 1.487 | 1.565 | 1.645
| c. Others | MGD | 0.6635 | 0.6765 | 0.69 | 0.7035 | 0.7435 | 0.7825 | 0.8225
| d. Free Supply | MGD | 0.6635 | 0.6765 | 0.69 | 0.7035 | 0.7435 | 0.7825 | 0.8225
| Total | MGD | 13.27 | 13.53 | 13.8 | 14.07 | 14.87 | 15.65 | 16.45
vi) | Category wise consumers - Total **
| a. Domestic | in Lakhs | 0.12709 | 0.1333 | 0.14159 | 0.14926 | 0.16092 | 0.16978 | 0.18135
| b. Commercial/Industrial | in Lakhs | 0.00683 | 0.00715 | 0.00761 | 0.00802 | 0.00864 | 0.00912 | 0.00975
| c. Others | in Lakhs | 0.00135 | 0.00143 | 0.00152 | 0.0016 | 0.0017 | 0.0018 | 0.00195
| d. Free Supply | in Lakhs | 0.00135 | 0.00143 | 0.00152 | 0.0016 | 0.0017 | 0.0018 | 0.00195
| Total* | in Lakhs | 0.13662 | 0.14331 | 0.15224 | 0.16048 | 0.17296 | 0.1825 | 0.195
vii) | Per Capita Consumption
| a. Domestic | LPCD | 100 | 100 | 100 | 100 | 100 | 100 | 100
| b. Commercial/Industrial | LPCD | 150 | 150 | 150 | 150 | 150 | 150 | 150
| c. Others | LPCD | 80 | 80 | 80 | 80 | 80 | 80 | 80
| d. Free Supply | LPCD | 80 | 80 | 80 | 80 | 80 | 80 | 80
| Total* | LPCD | 410 | 410 | 410 | 410 | 410 | 410 | 410
viii) | Total Cost of Water Treatment & Supply | Rs. Crores
a. Plan
| Salary |  | 0.64 | 0.75 | 0.8 | 0.9 | 1.11 | 1.3 | 1.57
| Other than Salary |  | 1.93 | 2.85 | 1.09 | 1.73 | 3.48 | 2.77 | 2.7
b. Non-Plan
| Salary |  | 0.54 | 0.59 | 1.34 | 1.39 | 1.4 | 1.51 | 1.59
| Other than Salary |  | 2.24 | 2.4 | 2.39 | 2.9 | 2.79 | 3.08 | 3.96
ix) | Total Revenue Realisation *
| a. Domestic | Rs. Crores | 1.296 | 1.6 | 1.728 | 1.6 | 1.6 | 2.128 | 2.4
| b. Commercial/Industrial | Rs. Crores | 0.324 | 0.4 | 0.432 | 0.4 | 0.4 | 0.532 | 0.6
| c. Others | Rs. Crores
| Total | Rs. Crores | 1.62 | 2 | 2.16 | 2 | 2 | 2.66 | 3
* Copy of the latest tariff order may be provided
MGD :- Million Gallon per day
LPCD:- Litres per Capita per Day
** consumer means the number of connections and not the actual number of people
ACTUALS
ACTUALS

## st 47 Total
ITEMS |  | Unit | Actuals |  |  |  |  | RE | BE
|  |  | 2007-08 | 2008-09 | 2009-10 | 2010-11 | 2011-12 | 2012-13 | 2013-14
1 | 2 |  | 3 | 4 | 5 | 6 | 7 | 8 | 9
1 | SOURCES OF RAW WATER
A | Surface Water
i) | Rivers | MGD | 2007-08 3: Data regarding availability of total Volume of Water in the rivers etc is not maintained by this Department
ii) | Canals | MGD
iii) | Others | MGD
| Total | MGD
B | Ground Water
i) | Tube Wells | MGD | 2007-08 3: NIL
ii) | Renny Wells | MGD
iii) | Others | MGD
| Total | MGD
2 | WATER TREATMENT STATUS
i) | Surface Water | MGD | 7.96 | 8.12 | 8.28 | 8.44 | 8.92 | 9.39 | 9.87
ii) | Ground Water | MGD | 0 | 0 | 0 | 0 | 0 | 0 | 0
iii) | Others | MGD | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Total | MGD
3 | Total Requirement of potable water | MGD | 13.27 | 13.53 | 13.8 | 14.07 | 14.87 | 15.65 | 16.45
4 | Excess/Shortfall | MGD | 5.31 | 5.41 | 5.52 | 5.63 | 5.95 | 6.26 | 6.58
5 | Existing Infrastructure ( Urban)
i) | Water Treatment Plants | Nos. | 7 | 7 | 7 | 7 | 7 | 7 | 12
ii) | Total Installed Capacity | MGD | 7 | 7 | 7 | 7 | 7 | 7 | 12
iii) | Major Storage & Booster Pumping Stations | Nos. | 0 | 0 | 0 | 0 | 1 | 1 | 1
iv) | Water Supply Network includes Water Trunk Mains | KMs | 720 | 730 | 750 | 812 | 812 | 832 | 850
6 | Performance Indicators
i) | Total Villages( habitation) | Nos. | 2498 | 2498 | 2498 | 2498 | 2498 | 2498 | 2498
ii) | Villages Covered with Piped Water Supply | Nos. | 1570 | 1608 | 1650 | 1744 | 1756 | 1805 | 1870
iii) | Total Towns/Cities | Nos. | 140 | 140 | 140 | 140 | 140 | 140 | 140
iv) | Towns/Cities Covered with Piped Water Supply | Nos. | 75 | 76 | 78 | 79 | 79 | 79 | 80
v) | Water Supply - Total
| a. Domestic | MGD | 10.616 | 10.824 | 11.04 | 11.256 | 11.896 | 12.52 | 13.16
| b. Commercial/Industrial | MGD | 1.327 | 1.353 | 1.38 | 1.407 | 1.487 | 1.565 | 1.645
| c. Others | MGD | 0.6635 | 0.6765 | 0.69 | 0.7035 | 0.7435 | 0.7825 | 0.8225
| d. Free Supply | MGD | 0.6635 | 0.6765 | 0.69 | 0.7035 | 0.7435 | 0.7825 | 0.8225
| Total | MGD | 13.27 | 13.53 | 13.8 | 14.07 | 14.87 | 15.65 | 16.45
vi) | Category wise consumers - Total
| a. Domestic - Rural | in Lakhs | 24699 | 39700 | 54600 | 75000 | 85000 | 100000 | 115000
| Domestic - Urban** | in Lakhs | 0.12709 | 0.1333 | 0.14159 | 0.14926 | 0.16092 | 0.16978 | 0.18135
| b. Commercial/Industrial** | in Lakhs | 0.00683 | 0.00715 | 0.00761 | 0.00802 | 0.00864 | 0.00912 | 0.00975
| c. Others** | in Lakhs | 0.00135 | 0.00143 | 0.00152 | 0.0016 | 0.0017 | 0.0018 | 0.00195
| d. Free Supply** | in Lakhs | 0.00135 | 0.00143 | 0.00152 | 0.0016 | 0.0017 | 0.0018 | 0.00195
| Total* | in Lakhs | 0.13662 | 0.14331 | 0.15224 | 0.16048 | 0.17296 | 0.1825 | 0.195
vii) | Per Capita Consumption
| a. Domestic | LPCD | 40 | 40 | 40 | 40 | 40 | 40 | 40
| Domestic - Urban** | LPCD | 100 | 100 | 100 | 100 | 100 | 100 | 100
| b. Commercial/Industrial** | LPCD | 150 | 150 | 150 | 150 | 150 | 150 | 150
| c. Others** | LPCD | 80 | 80 | 80 | 80 | 80 | 80 | 80
| d. Free Supply** | LPCD | 80 | 80 | 80 | 80 | 80 | 80 | 80
| Total* | LPCD | 410 | 410 | 410 | 410 | 410 | 410 | 410
viii) | Total Cost of Water Treatment & Supply | Rs. Crores
a. Plan
| Salary |  | 0.64 | 0.75 | 0.8 | 0.9 | 1.11 | 1.3 | 1.57
| Other than Salary |  | 1.93 | 2.85 | 1.09 | 1.73 | 3.48 | 2.77 | 2.7
b. Non-Plan
| Salary |  | 0.54 | 0.59 | 1.34 | 1.39 | 1.4 | 1.51 | 1.59
| Other than Salary |  | 2.24 | 2.4 | 2.39 | 2.9 | 2.79 | 3.08 | 3.96
ix) | Total Revenue Realisation *
| a. Domestic | Rs. Crores | 1.296 | 1.6 | 1.728 | 1.6 | 1.6 | 2.128 | 2.4
| b. Commercial/Industrial | Rs. Crores | 0.324 | 0.4 | 0.432 | 0.4 | 0.4 | 0.532 | 0.6
| c. Others | Rs. Crores
| Total | Rs. Crores | 1.62 | 2 | 2.16 | 2 | 2 | 2.66 | 3
* Copy of the latest tariff order may be provided
MGD :- Million Gallon per day
LPCD:- Litres per Capita per Day
** consumer means the number of connections and not the actual number of people
ACTUALS
ACTUALS